# EE100 Smart Dust Lab:  Theory

## 1. Objectives

The purpose of this experiment is to introduce you to a new sophisticated wireless sensor system that can be used to make a wide variety of measurements.  Along the way, you’ll also experiment with individual sensors of temperature and illumination like those on the wireless “motes” -- so-called because they are only about an inch across now and can ultimately be made much smaller.  The wireless sensor system that we’ll explore, which communicates via high-frequency radio waves, was named Smart Dust by its inventor, Kris Pister, a Berkeley EECS prof.

2.  Introducing Smart Dust

A Smart Dust mote is an electronic package composed of:  an integrated-circuit radio transmitter and receiver (the combination is called a “transceiver”); a microcontroller that controls the operation of the mote; a random-access memory (RAM) like the one(s) in your computer; a “flash” memory like the one that stores pictures in a digital camera; some standard sensors – a resistive temperature sensor and a semiconductor illumination (light) sensor that produces a current when it is illuminated; an analog-to-digital converter (ADC) that converts the analog temperature and illumination sensor outputs to digital form for transmission elsewhere; a power source for the mote (typically a battery); and an antenna used both for transmitting and receiving signals.

The motes we’ll use – called “Mica2dot” motes (don’t ask) – also have three light-emitting diodes (LEDs) on them.  The red LED indicates when the mote is turned on; the yellow and green LEDs flash when mote-to-mote communication is occurring.  The Experiment Guide describes this more fully.

A computer software operating system – TinyOS – was developed in Berkeley’s Computer Science Division to control mote operation.  When wireless motes are first dispersed in an area – a room, a hallway, a building, or in a meadow – they autonomously attempt to set up a network along which they can send information from one mote to another.  Somewhere, one mote is plugged into a special printed circuit board (PCB) that is connected to the serial port of a computer, such as a laptop.  This board is known as a “base station”; its function is to collect the data provided to it by the assembly of motes.  The topology of a typical Smart Dust mote network is shown in Fig. 1 below.

Fig. 2 shows a magnified view of one of the Smart Dust wireless sensor motes.  Several of its components are identified; beneath the printed circuit board that you see is an integrated circuit like those used in portable telephones to drive an antenna connected to the mote for transmitting the mote identification and measured sensor data to the base station.  These motes are made commercially by the Xbow Company (“cross-bow”), which you can reach at www.xbow.com .

Fig. 1.  Topology of a typical Smart Dust mote network.

Fig. 2.  Magnified view of the Smart Dust mote.  The wireless telephone chip is beneath this printed circuit board.  The mote connects to a short antenna for transmitting and receiving radio waves.

Each mote in the network has a unique identifier that it uses to preface each of its transmissions.  Every mote transmits any sensor data that it has taken, along with information from other motes sent to it for passing along to the base station.  If the proper software has been installed in the base station’s computer, the network topology can be displayed on the base station’s monitor.  One should thus be able to observe when motes are added to the network, or when they leave it.  The sensor data taken by each mote could also be displayed, processed and stored by that computer.

3. Uses

The possible uses are limited only by the available sensors and by the range that these motes can achieve – tens to hundreds of meters with radio communication, up to miles in certain circumstances when the motes are outfitted for optical communication using lasers.

The long list of sensed quantities that have been demonstrated includes:  temperature, illumination, relative humidity, toxic gases, magnetic field, sound, acceleration, and rotation rate.  As examples of some of their uses, motes bearing on-board accelerometers are being installed on the Golden Gate bridge to measure the accelerations produced by wind and traffic, and burrowing birds on an Eastern seaboard island are being monitored unobtrusively in their nests by motes that measure temperature and illumination, which are surrogate indications of burrow occupancy and activity.

A key feature of the motes is their low cost.  The motes that you will use cost approximately $100 each in a quantity order of a few hundreds, and it is predicted that within a year or so the price might be as low as a few dollars.  An important practical requirement is that the power required by any mote be kept low to prolong battery life; this means that the mote radios must be efficient, and that any sensors used must require very little power.  Present motes require 10-20 mW for radio transmission and reception, and a number of sensors are available that are either passive (require no power source, an example being a photodiode for measuring illumination) or have low power requirements.

- References

Here are two web sites you can check out:

robotics.eecs.berkeley.edu/~pister/SmartDust/

http://webs.cs.Berkeley.edu/tos/

# EE100 Smart Dust Lab:  Experiment Guide

#### Smart Dust Motes

The motes that you’ll use are contained in translucent plastic boxes that measure 1.5 x 2.5 x 0.6 cubic inches.  There is an insulated antenna (inside the white plastic tubing) attached to the box.  You can turn on a mote by moving the black slide switch (visible through a hole in the box) with a small key or a pencil point; move the switch handle in the direction of the attachment point of the antenna to turn it on.  Be sure to turn the motes off when you’re finished with them to prevent battery drain.

Each pair of students will have available two motes in which stored TinyOS programs enable them to transmit and receive signals from similar motes, but be immune to transmissions from other motes.  The boxes are marked S (send) or R (receive) to identify the transmitter and receiver, respectively.  (The motes inside those boxes have identical hardware, but their software differs.)  When a receiver is turned on, if there’s no sending mote nearby that can communicate with it, nothing appears to happen.  But when you turn on a transmitter, its red LED flashes periodically; a yellow and green LED also flash, acting as the readouts of a two-bit binary counter.  The counts have no significance, but they serve to show you that the mote is working properly.  If you now turn on a receiving mote while the associated sender is still on, you should see the receiver’s lights flashing in synchrony with those of the transmitter.

When the motes are sensing real-world data – these motes can sense temperature and illumination – the measurements are transmitted over the wireless network to a base station that is plugged into a serial port on a computer, permitting data storage and display.  Such a station should exist at one point in the lab.

#### Individual sensors

The original motes included analog sensors for temperature and illumination.  We’ll now describe how those sensors worked.

#### Temperature sensor – the thermistor

The analog temperature sensor on the mote is a black cube that is 1 mm on a side; it has silvery electrodes on two opposing faces.  This is a two-terminal semiconductor device known as a thermistor because its resistance changes a lot when its temperature changes.  When the temperature rises, the number of charge carriers in the thermistor increases, causing its electrical resistance to drop.  (In common resistors, a temperature rise produces a resistance rise because at higher temperatures the vibrations of the atoms of the resistor are more intense, which impedes the flow of electric charges through the resistor.)

The thermistor you will test in the lab is a Jameco Model NTC-103 (NTC = negative temperature coefficient, meaning resistance goes down when temperature goes up).  Several Jameco data sheets appear as Figs. 3A and 3B below.  The characteristic curve for our thermistor in Fig. 3B is the one that has the value of 10 k resistance at 25o C temperature.

Fig. 3A  Some data on the Jameco thermistors.

Fig. 3B.  Thermistor characteristics – resistance vs temperature.

You should use an ohmmeter to measure the resistance of the thermistor as it is heated.  You can heat it with your body by grasping the thermistor bulb between your thumb and forefinger.  For heating over a larger temperature range, you can use the 22  resistor and connecting it to the HP E3631A DC power supply.  Set the supply voltage at 5.0 volts.  Position the heating resistor over the white ceramic plate with rubber feet.  You will also be able to observe the temperature dependence of resistance for several other resistors, for comparison with that of the thermistor.

#### Illumination sensor – the photodiode or solar cell

The mote contains a photodiode – a semiconductor device that produces a current when a light shines on it, like a solar cell.  In the lab you will be able to experiment with some larger silicon solar cells.  Recall that the short-circuit current of a solar cell is proportional to the illumination incident upon the cell.  The I-V characteristic of a typical solar cell is that shown in Figure 3.25 in Example 3.12 of the textbook by Schwarz and Oldham; the device isn’t identified as a solar cell, but the characteristic is similar.  A rough approximation to such a characteristic was shown in class and is repeated below.

ID                                                      ID

+

VD

-                                                                                    VD

In the diode symbol, the arrowhead points in the direction of easy current flow, and the reference directions for current and voltage are shown.  Recall also that a two-terminal device that has a positive current emerging from its positive terminal is delivering energy rather than dissipating it (think “battery”).  In the lab, you will be able to measure the current and voltage to verify that this device can deliver energy.  You can also see the effect of illumination on the short-circuit current as measured with an ammeter.

#### Light-Emitting Diodes

Since the motes include LEDs on them, we will take this opportunity to experiment a bit with them in this lab.

LEDs have I-V characteristics like those of ordinary silicon pn-diodes, but their turn-on voltages are higher than the 0.7V of the silicon diodes.  The RadioShack book, “Getting Started in Electronics”, which is at each lab station and also on 2-hour reserve in the Engineering Library, contains a table of LED turn-on voltages.  As you go from red LEDs toward blue LEDs, the energy of the emitted photons increases, and so more electrical energy must be given to the electrons in the device.  Hence, the turn-on voltage for a blue LED is higher than that for a red LED.

Because of their high efficiency and long life, LEDs are being used widely, one example being their appearance in traffic signals.  They last at least 10,000 hours, and all their output is at the design wavelength.  In contrast, incandescent traffic lights employ optical filters that absorb all but a narrow portion of the white light spectrum emitted by the bulb.

Here are the turn-on voltages measured on the variously colored LEDs that you can use in the lab:

| Diode color and size | Turn-on voltage (measured with a Fluke multimeter) | Safe maximum current (mA) |
| --- | --- | --- |
| Red, small | 1.60V | 2mA |
| Red, large | 1.50V | 6mA |
| Yellow, small | 1.70V | 3mA |
| Green, small | 1.790V | 2mA |
| Green, large | 1.793V | 3mA |

These measurements were made with the diode check feature of the Fluke DMM, which you can verify in the lab.

IMPORTANT NOTE:  The longer lead of an LED is the positive lead as indicated by the positive potential in the circuit symbol above.

EE100 Smart Dust Lab:  Prelab

Name:___________________

TA:	___________________

Section:__________________

- The antennas on the Smart Dust motes are 6-inch long pieces of insulated wire.  (Only 5 inches sticks up straight on the motes you’ll use, but let’s ignore that detail here.)  To work efficiently, a typical radio antenna should be approximately one-quarter of a wavelength long.  Recall from physics that for any kind of wave, including radio,

Wave frequency x Wavelength = Wave’s phase velocity

Calculate the approximate frequency at which such a mote operates (reminder:  the

velocity of radio waves in free space is 3 x 108 m/s).

- List at least three applications you can think of for the Smart Dust wireless sensor platforms in your field of study.  (Be imaginative!)

3.  For the small red LED listed in the table in the Guide, calculate the value of a series current-limiting resistor that will produce the maximum listed current for that LED, assuming that the source voltage is 6 volts.  You may assume that the I-V characteristic for the LED is the idealized characteristic – no current flows until the turn-on voltage is reached, at which point the characteristic becomes a vertical line.

###### EE100 Smart Dust Lab Report

Name:___________________

Name:___________________

TA:    __________Section:________

1.  Testing your pair of motes

The motes have been programmed to respond to each other in pairs; you and your lab partner have been given one such pair.  The sending mote is marked S, the receiving mote R.

Turn on the sending mote.  Note which LEDs flash.  Now turn on the receiving mote as well. Observe and record any synchronous flashing of lights on the two motes.  What are the motes doing?

Measure the range of your pair of motes by taking them out in the hallway and moving apart until the synchronous behavior stops. This is the maximum range in this environment.  Try mote operation around a corner, from inside a room to the hallway, etc  Determine the distance by pacing it off (a meter stick or tape measure is available if you don’t know the length of your stride).  Try turning one mote until its antenna is perpendicular to the other mote’s antenna; does this make a difference in the range?  Repeat while holding one mote’s antenna close to the metal door of a hall locker.  Does it make a difference whether the S or the R mote’s antenna is placed next to the metal door while the other is held in the middle of the hallway?

2.  Demonstration of the frequency spectrum of your motes

The TA will use a “spectrum analyzer” to demonstrate how often a mote transmits, the center frequency of transmission, and some of the frequencies used in transmission.  The TA will explain what the equipment does and what its displays mean.

To do this demonstration, connect to the input of the spectrum analyzer a BNC cable that has alligator clips on one end.  Turn on a mote and place its antenna near the “hot” (center conductor) of the BNC cable.  Adjust the range covered by the spectrum analyzer to sweep from roughly 100 to 1000 MHz.  You should see an intermittent increase in the amplitude at one point on the trace, whose frequency corresponds to the frequency at which the mote is transmitting.  Since mote communication occurs in bursts, the transmission that you detect on the spectrum analyzer will also be intermittent.  Measure the frequency of transmission and compare it with the value you predicted in Question 1 of the Pre-Lab.

3.  Laptop display of the Smart Dust network topology

When motes are dispersed in an area, they automatically set up a wireless network along which data can be transferred to a mote that that is connected to the serial port of a computer and has been configured as a base station.  Figure 1 in the Theory part of this lab illustrated such a network.  If possible, the TA will demonstrate a display of network topology.  As motes join or leave the network you should be able to see the network change.

4.  Dynamic oscilloscope display of the temperature and/or illumination data collected by a mote

The mica2dot motes incorporate two standard sensors – a temperature sensor (analog thermistor, or possibly a digital temperature sensor) and an illumination sensor (photodiode).  The packets sent over the mote network are composed of a header that identifies at least the sending mote, and then data from the sensors located on the mote. If the network display is working, identify one of the motes in the room and note its illumination data.  Now cover that mote and observe the effect on its illumination data.  Test the temperature sensing capability by putting your hand on the box holding the mote.  (Since there is air between the inside of the box and the thermistor on the mote, heating of the thermistor occurs mostly via radiation, so you may not be able to observe a change of temperature even after waiting for several minutes.)

5.  Mote transmission under “difficult” conditions

Investigate the effect upon mote-to-mote transmission of putting one mote in a cardboard box, a metal cabinet, and a non-functioning microwave oven to see whether it communicates through the closed door (which is designed to prevent the microwaves at 2.45GHz from leaking out).  Results:_________________________________________________________________________________________________________________________________________

Note:  it has been found experimentally that motes can communicate from inside a closed refrigerator, suggesting a temperature measuring application in a computer-controlled dwelling.

6.  Temperature sensing with thermistors

First, measure and record the resistance of your thermistor (round brown dot with two leads) to determine the air temperature from the calibration plot of R vs. T in the Experiment Guide.  Now measure and record the resistance corresponding to your body temperature by holding the thermistor between your thumb and forefinger.  What body temperature does this indicate?  Are your results reasonable?

Wire up a localized heater consisting of a 22  resistor set on a white ceramic tile.  Using the HP E3631A triple DC power supply to apply 5.0V to the heating resistor.

- Put the thermistor in contact with the heating resistor for 30 seconds and record the magnitude and direction of the change of its resistance.  What temperature does the thermistor reach?  (We’ll discuss semiconductors later in the course.)

- Put the small lightbulb in contact with the heating resistor for 30 seconds.  By what percentage and in what direction did the resistance of its thin metallic filament change?

7.  Illumination sensor -- photodiode or solar cell

a.  The single-crystal silicon solar cells in the transparent plastic boxes have a continuous back metallic contact to which one small insulated wire is soldered, and a comb-like metallic contract on the other side that lets most of the incident light pass through into the cell.

First, record the number of your solar cell:  _________

Use your DMM to determine the polarity of the voltage from the top, comb-like contact to the continuous back contact.  Now switch your DMM to current mode and measure the current flowing from the comb-like contact, through the ammeter – which acts like a short-circuit – to the continuous back contact.  If you need more light, use the small halogen* lamp, powered from the HP E3631A triple DC power supply; set the voltage at 12.0V (the current will be about 0.85A.  When you get ready to measure the solar cell current and voltage you can set the lamp BRIEFLY on the solar cell package and make a QUICK measurement – 3 seconds should suffice, and not melt the plastic box containing the solar cell.

*  There’s a halogen gas inside the bulb that helps keep the glass bulb free of metal that evaporated from the hot filament

Record your data, including the direction of current flow at the contact that is positive with respect to the other contact.  From your investigation, what do you conclude about the device as a deliverer or dissipater of energy?  ________________________________________________________________________________________________________________________________________________

To test whether the short-circuit current of a solar cell is proportional to the intensity of the light incident on the cell, illuminate the cell and measure its short-circuit current, then put the piece of transparency material between the light and the cell and find the new short-circuit current.  Check the proportionality (ask the TA for the fraction of the light that is intercepted by the pattern of black lines on the transparency).

Data and conclusions:

________________________________________________________________________________________________________________________________________________

8.  LED

Set the Fluke DMM on its diode-check setting and apply the leads to an LED.  NOTE:  The + lead is the longer of the two leads.  Does the LED light up?  Record the LED type (small red, large red, etc.) and record the voltage displayed on the DMM.  This is the voltage at which the LED current is about 0.40 mA, so this can be taken roughly as the LED turn-on voltage.

Wire up the small red LED with the series resistance you calculated in Question 3 of the Pre-Lab and measure the current.  By what percentage does it differ from your expected current?

# Text boxes

Digital Temperature Sensor

Digital Light Sensor

3.6 Volt Lithium Battery

General Purpose LEDs

ON-OFF Switch

Programming Connector

MICA2DOT

Wireless Mote