## Slide 1: CS 61C: Great Ideas in Computer Architecture (Machine Structures) Map Reduce
Instructors
Randy H. Katz
http://inst.eecs.Berkeley.edu/~cs61c/fa13

## Slide 2: PUE Revisited
Power Usage Efficiency
IT Equipment
Total Power In
Datacenter
Servers, Storage, Networks
Air Conditioning, Power Distribution, UPS, …
PUE = Total Power/IT Power
Infrastructure
PUE = 2
Infrastructure
PUE = 1.5

## Slide 3: Energy Proportionality
Figure 1. Average CPU utilization of more than 5,000 servers during a six-month period. Servers
are rarely completely idle and seldom operate near their maximum utilization, instead operating
most of the time at between 10 and 50 percent of their maximum
It is surprisingly hard to achieve high levels of utilization of typical servers (and your home PC or laptop is even worse)
“The Case for
Energy-Proportional
Computing,”
Luiz André Barroso,
Urs Hölzle,
IEEE Computer
December 2007

## Slide 4: Energy Proportional Computing
Figure 2. Server power usage and energy efficiency at varying utilization levels, from idle to
peak performance. Even an energy-efficient server still consumes about half its full power
when doing virtually no work.
“The Case for
Energy-Proportional
Computing,”
Luiz André Barroso,
Urs Hölzle,
IEEE Computer
December 2007
Energy Efficiency =
Utilization/Power

## Slide 5: Energy Proportionality
Figure 4. Power usage and energy efficiency in a more energy-proportional server. This
server has a power efficiency of more than 80 percent of its peak value for utilizations of
30 percent and above, with efficiency remaining above 50 percent for utilization levels as
low as 10 percent.
“The Case for
Energy-Proportional
Computing,”
Luiz André Barroso,
Urs Hölzle,
IEEE Computer
December 2007
Design for
wide dynamic
power range and
active low power
modes
Energy Efficiency =
Utilization/Power

## Slide 6
The Internet supplies the communication for SaaS
Power Usage Effectiveness (PUE) also measures efficiency of the individual servers
The goal of energy proportionality is energy usage should track equipment utilization
Servers, IT equipment represent less than half of WSC power budget
☐
☐
☐
☐
Which statements are NOT true about Warehouse Scale Computing?
9/3/13
Fall 2013 -- Lecture #2
Notes: VertLeftWhiteCheck1
Private datacenters cannot match cost of Warehouse Scale Computers even if they just purchased the same type of hardware, since they don’t get the economies of scale at 1000 vs 100,000 in purchasing, housing, operators

## Slide 7
The Internet supplies the communication for SaaS
Power Usage Effectiveness (PUE) also measures efficiency of the individual servers
The goal of energy proportionality is energy usage should track equipment utilization
Servers, IT equipment represent less than half of WSC power budget
☐
☐
☐
☐
Which statements are NOT true about Warehouse Scale Computing?
9/3/13
Fall 2013 -- Lecture #2
Notes: VertLeftWhiteCheck1
Private datacenters cannot match cost of Warehouse Scale Computers even if they just purchased the same type of hardware, since they don’t get the economies of scale at 1000 vs 100,000 in purchasing, housing, operators

## Slide 8: New-School Machine Structures (It’s a bit more complicated!)
Parallel Requests
  Assigned to computer
  e.g., Search “Katz”
Parallel Threads
  Assigned to core
  e.g., Lookup, Ads
Parallel Instructions
  >1 instruction @ one time
  e.g., 5 pipelined instructions
Parallel Data
  >1 data item @ one time
  e.g., Add of 4 pairs of words
Hardware descriptions
  All gates @ one time
Programming Languages
Smart Phone
Warehouse Scale Computer
Software Hardware
Harness Parallelism &
Achieve High Performance
Logic Gates
Core
Core
…
Memory (Cache)
Input/Output
Computer
Cache Memory
Core
Instruction Unit(s)
Functional
Unit(s)
A3+B3
A2+B2
A1+B1
A0+B0
Today’s Lecture

## Slide 9: Agenda
Request Level Parallelism
MapReduce Examples
Administrivia + 61C in the News + The secret to getting good grades at Berkeley
MapReduce Execution
Costs in Warehouse Scale Computer

## Slide 10: Agenda
Request Level Parallelism
MapReduce Examples
Administrivia + 61C in the News + The secret to getting good grades at Berkeley
MapReduce Execution
Costs in Warehouse Scale Computer

## Slide 11: Request-Level Parallelism (RLP)
Hundreds or thousands of requests per second
  Not your laptop or cell-phone, but popular Internet services like Google search
  Such requests are largely independent
    Mostly involve read-only databases
    Little read-write (aka “producer-consumer”) sharing
    Rarely involve read–write data sharing or synchronization across requests
Computation easily partitioned within a request and across different requests

## Slide 12: Google Query-Serving Architecture

## Slide 13: Anatomy of a Web Search
Google “Randy H. Katz”
  Direct request to “closest” Google Warehouse Scale Computer
  Front-end load balancer directs request to one of many clusters of servers within WSC
  Within cluster, select one of many Google Web Servers (GWS) to handle the request and compose the response pages
  GWS communicates with Index Servers to find documents that contain the search words, “Randy”, “Katz”, uses location of search as well
  Return document list with associated relevance score

## Slide 14: Anatomy of a Web Search
In parallel,
  Ad system: books by Katz at Amazon.com
  Images of Randy Katz
Use docids (document IDs) to access indexed documents
Compose the page
  Result document extracts (with keyword in context) ordered by relevance score
  Sponsored links (along the top) and advertisements (along the sides)

## Slide 16: Anatomy of a Web Search
Implementation strategy
  Randomly distribute the entries
  Make many copies of data (aka “replicas”)
  Load balance requests across replicas
Redundant copies of indices and documents
  Breaks up hot spots, e.g., “Justin Bieber”
  Increases opportunities for request-level parallelism
  Makes the system more tolerant of failures

## Slide 17
RLP also runs independent tasks within a request
RLP typically uses equal number of reads and writes
Search uses redundant copies of indices and data to deliver parallelism
RLP runs naturally independent requests in parallel
☐
☐
☐
☐
Question: Which statements are NOT TRUE about about Request Level Parallelism?
Notes: VertLeftWhiteCheck1

## Slide 18
RLP also runs independent tasks within a request
RLP typically uses equal number of reads and writes
Search uses redundant copies of indices and data to deliver parallelism
RLP runs naturally independent requests in parallel
☐
☐
☐
☐
Question: Which statements are NOT TRUE about about Request Level Parallelism?
Notes: VertLeftWhiteCheck1

## Slide 19: Agenda
Request Level Parallelism
MapReduce Examples
Administrivia + 61C in the News + The secret to getting good grades at Berkeley
MapReduce Execution
Costs in Warehouse Scale Computer

## Slide 20: Data-Level Parallelism (DLP)
Two kinds
  Lots of data in memory that can be operated on in parallel (e.g., adding together two arrays)
  Lots of data on many disks that can be operated on in parallel (e.g., searching for documents)
October 10 lecture and 3rd project does Data Level Parallelism (DLP) in memory
Today’s lecture and 1st project does DLP across 1000s of servers and disks using MapReduce

## Slide 21: Problem Trying To Solve
How process large amounts of raw data (crawled documents, request logs, …) every day to compute derived data (inverted indices, page popularity, …) when computation conceptually simple but input data large and distributed across 100s to 1000s of servers so that finish in reasonable time?
Challenge: Parallelize computation, distribute data, tolerate faults without obscuring simple computation with complex code to deal with issues
Jeffrey Dean and Sanjay Ghemawat, “MapReduce: Simplified Data Processing on Large Clusters,” Communications of the ACM, Jan 2008.

## Slide 22: MapReduce Solution
Apply Map function to user supplied record of key/value pairs
Compute set of intermediate key/value pairs
Apply Reduce operation to all values that share same key to combine derived data properly
  Often produces smaller set of values
  Typically 0 or 1 output value per Reduce invocation
User supplies Map and Reduce operations in functional model so can parallelize, re-execute for fault tolerance

## Slide 23: Data-Parallel “Divide and Conquer” (MapReduce Processing)
Map:
  Slice data into “shards” or “splits”, distribute these to workers, compute sub-problem solutions
  map(in_key,in_value)->list(out_key,intermediate value)
    Processes input key/value pair
    Produces set of intermediate pairs
Reduce:
  Collect (and combine) sub-problem solutions
  reduce(out_key,list(intermediate_value))->list(out_value)
    Combines all intermediate values for a particular key
    Produces a set of merged output values (usually just one)
Fun to use: focus on problem, let MapReduce library deal with messy details

## Slide 24: MapReduce Execution
Fine granularity tasks: many more map tasks than machines
2000 servers => ≈ 200,000 Map Tasks, ≈ 5,000 Reduce tasks
Bucket sort
to get same keys
together

## Slide 25: Google Uses MapReduce For …
Web crawl: Find outgoing links from HTML documents, aggregate by target document
Google Search: Generating inverted index files using a compression scheme
Google Earth: Stitching overlapping satellite images to remove seams and to select high-quality imagery
Google Maps: Processing all road segments on Earth and render map tile images that display segments
More than 10,000 MR programs at Google in 4 years, run 100,000 MR jobs per day (2008)

## Slide 26: MapReduce Popularity at Google
 | Aug-04 | Mar-06 | Sep-07 | Sep-09
Number of MapReduce jobs | 29,000 | 171,000 | 2,217,000 | 3,467,000
Average completion time (secs) | 634 | 874 | 395 | 475
Server years used | 217 | 2,002 | 11,081 | 25,562
Input data read (TB) | 3,288 | 52,254 | 403,152 | 544,130
Intermediate data (TB) | 758 | 6,743 | 34,774 | 90,120
Output data written (TB) | 193 | 2,970 | 14,018 | 57,520
Average number servers /job | 157 | 268 | 394 | 488

## Slide 27: What if Ran Google Workload on EC2?
 | Aug-04 | Mar-06 | Sep-07 | Sep-09
Number of MapReduce jobs | 29,000 | 171,000 | 2,217,000 | 3,467,000
Average completion time (secs) | 634 | 874 | 395 | 475
Server years used | 217 | 2,002 | 11,081 | 25,562
Input data read (TB) | 3,288 | 52,254 | 403,152 | 544,130
Intermediate data (TB) | 758 | 6,743 | 34,774 | 90,120
Output data written (TB) | 193 | 2,970 | 14,018 | 57,520
Average number of servers per job | 157 | 268 | 394 | 488
Average Cost/job EC2 | $17 | $39 | $26 | $38
Annual Cost if on EC2 | $0.5M | $6.7M | $57.4M | $133.1M

## Slide 28
MapReduce works well for tasks like Search and Matrix Multiply
There are typically many more Map Tasks than Reduce Tasks (e.g., 40:1)
MapReduce hides details of parallelization, fault tolerance, locality optimization, and load balancing
Users express computation as two functions, Map and Reduce, and supply code for them
☐
☐
☐
☐
Question: Which statements are NOT TRUE about about MapReduce?
Notes: VertLeftWhiteCheck1

## Slide 29
MapReduce works well for tasks like Search and Matrix Multiply
There are typically many more Map Tasks than Reduce Tasks (e.g., 40:1)
MapReduce hides details of parallelization, fault tolerance, locality optimization, and load balancing
Users express computation as two functions, Map and Reduce, and supply code for them
☐
☐
☐
☐
Question: Which statements are NOT TRUE about about MapReduce?
Notes: VertLeftWhiteCheck1

## Slide 30: Agenda
MapReduce Examples
Administrivia + 61C in the News + The secret to getting good grades at Berkeley
MapReduce Execution
Costs in Warehouse Scale Computer

## Slide 31: Administrivia
HW #1, Lab #1 posted
  HW #1 due Sunday before midnight
  Labs checked off in lab or in TA office hours before your next lab
Your professor respectfully asks:
  Leave lecture early? Sit near the aisles please
  Must use computer, cell phone in class? Sit in the last few rows of the auditorium please … (just like in movie theatres: it distracts the students around you)

## Slide 32: The Secret to Getting Good Grades
It’s easy!
Do assigned reading the night before the lecture, to get more value from lecture

## Slide 33: CS 61c in the News

## Slide 34: MapReduce Processing Example: Count Word Occurrences
Pseudo Code: for each word in input, generate <key=word, value=1>
Reduce sums all counts emitted for a particular word across all mappers
map(String input_key, String input_value):
// input_key: document name
// input_value: document contents
for each word w in input_value:
EmitIntermediate(w, "1"); // Produce count of words
reduce(String output_key, Iterator intermediate_values):
// output_key: a word
// intermediate_values: a list of counts
int result = 0;
for each v in intermediate_values:
result += ParseInt(v); // get integer from key-value
Emit(AsString(result));

## Slide 35: Another Example: Word Index (How Often Does a Word Appear?)
that that is is that that is not is not is that it it is
is 1, that 1, that 1
Is 1, that 1, that 1
is 1, is 1, not 1,not 1
is 1, is 1, it 1, it 1, that 1
Map 1
Map 2
Map 3
Map 4
Reduce 1
Reduce 2
is 1
that 1,1
is 1,1
that 1,1,1,1
is 1,1,1,1,1,1
it 1,1
that 1,1,1,1,1
not 1,1
is 6; it 2
not 2; that 5
Shuffle
Collect
is 6; it 2; not 2; that 5
Distribute
that 1, that 1, is 1
Is 1, that 1, that 1
is 1, not 1, is 1, not 1
is 1, that 1, it 1, it 1, is 1
Local Sort

## Slide 36: The Combiner (Optional)
One missing piece for our first example:
  Many times, the output of a single mapper can be “compressed” to save on bandwidth and to distribute work (usually more map tasks than reduce tasks)
  To implement this, we have the combiner:
combiner(interm_key,list(interm_val)):
// DO WORK (usually like reducer)
emit(interm_key2, interm_val2)

## Slide 37: Our Final Execution Sequence
Map – Apply operations to all input key, val
Combine – Apply reducer operation, but distributed across map tasks
Reduce – Combine all values of a key to produce desired output

## Slide 38: MapReduce Processing Example: Count Word Occurrences
Pseudo Code: for each word in input, generate <key=word, value=1>
Reduce sums all counts emitted for a particular word across all mappers
map(String input_key, String input_value):
// input_key: document name
// input_value: document contents
for each word w in input_value:
EmitIntermediate(w, "1"); // Produce count of words
combiner: (same as below reducer)
reduce(String output_key, Iterator intermediate_values):
// output_key: a word
// intermediate_values: a list of counts
int result = 0;
for each v in intermediate_values:
result += ParseInt(v); // get integer from key-value
Emit(output_key, result);

## Slide 39: Another Example: Word Index (How Often Does a Word Appear?)
that that is is that that is not is not is that it it is
is 1, that 1, that 1
Is 1, that 1, that 1
is 1, is 1, not 1,not 1
is 1, is 1, it 1, it 1, that 1
Map 1
Map 2
Map 3
Map 4
Reduce 1
Reduce 2
is 1
that 2
is 1,1
that 2,2
is 1,1,2,2
It 2
that 2,2,1
not 2
is 6; it 2
not 2; that 5
Shuffle
Collect
is 6; it 2; not 2; that 5
Distribute
Local Sort
is 1, that 2
is 1, that 2
is 2, not 2
is 2, it 2, that 1
Combine

## Slide 40: Types
map (k1,v1)  list(k2,v2)
reduce (k2,list(v2))  list(v2)
Input keys and values from different domain than output keys and values
Intermediate keys and values from same domain as output keys and values

## Slide 41: Execution Setup
Map invocations distributed by partitioning input data into M splits
  Typically 16 MB to 64 MB per piece
Input processed in parallel on different servers
Reduce invocations distributed by partitioning intermediate key space into R pieces
  E.g., hash(key) mod R
User picks M >> # servers, R > # servers
  Big M helps with load balancing, recovery from failure
  One output file per R invocation, so not too many

## Slide 42
MapReduce Processing
Shuffle phase

## Slide 43: MapReduce Processing
1. MR 1st splits the input files into M “splits” then starts many copies of
program on servers
Shuffle phase

## Slide 44: MapReduce Processing
2. One copy—the master— is special. The rest
are workers. The master picks idle workers and
assigns each 1 of M map tasks or 1 of R reduce tasks.
Shuffle phase
Notes: We subdivide the map phase into M pieces and the reduce phase into R pieces as described previously. Ideally, M and R should be much larger than the number of worker machines. Having each worker perform many different tasks improves dynamic load balancing and also speeds up recovery when a worker fails: the many map tasks it has completed can be spread out across all the other worker machines. There are practical bounds on how large M and R can be in our implementation since the master must make O(M+R) scheduling decisions and keep O(M*R) state in memory as described. (The constant factors for memory usage are small, however. The O(M*R) piece of the state consists of approximately one byte of data per map task/reduce task pair.) Furthermore, R is often constrained by users because the output of each reduce task ends up in a separate output file. In practice, we tend to choose M so that each individual task is roughly 16MB to 64MB of input data (so that the locality optimization described previously is most effective), and we make R a small multiple of the number of worker machines we expect to use. We often perform MapReduce computations with M=200,000 and R=5,000, using 2,000 worker machines.

## Slide 45: MapReduce Processing
3. A map worker reads the input split. It parses key/value pairs of the input data and passes each pair to the user-defined map function.
(The intermediate
key/value pairs produced by the map function are buffered in memory.)
Shuffle phase

## Slide 46: MapReduce Processing
4. Periodically, the buffered pairs are written to local disk, partitioned
into R regions by the partitioning function.
Shuffle phase
Notes: The locations of these buffered pairs on the local disk are passed back to the master who is responsible for forwarding these locations to the reduce workers.

## Slide 47: MapReduce Processing
5. When a reduce worker has read all intermediate data for its partition, it bucket sorts using inter-mediate keys so that occur-rences of same keys are grouped together
(The sorting is needed because typically many different keys map to
the same reduce task )
Shuffle phase

## Slide 48: MapReduce Processing
6. Reduce worker iterates over sorted intermediate data and for each unique intermediate key, it passes key and corresponding set of values to the user’s reduce function.
The output of the reduce function is appended to a final output file for this reduce partition.
Shuffle phase

## Slide 49: MapReduce Processing
7. When all map tasks and reduce tasks have been completed, the master
wakes up the user program. The MapReduce call
in user program returns back to user code.
Output of MR is in R output files (1 per reduce task, with file names specified by user); often passed into another MR job so don’t concatenate
Shuffle phase

## Slide 50: Master Data Structures
For each map task and reduce task
  State: idle, in-progress, or completed
  Identify of worker server (if not idle)
For each completed map task
  Stores location and size of R intermediate files
  Updates files and size as corresponding map tasks complete
Location and size are pushed incrementally to workers that have in-progress reduce tasks

## Slide 51: Agenda
MapReduce Examples
Administrivia + 61C in the News + The secret to getting good grades at Berkeley
MapReduce Execution
Costs in Warehouse Scale Computer

## Slide 52: MapReduce Processing Time Line
Master assigns map + reduce tasks to “worker” servers
As soon as a map task finishes, worker server can be assigned a new map or reduce task
Data shuffle begins as soon as a given Map finishes
Reduce task begins as soon as all data shuffles finish
To tolerate faults, reassign task if a worker server “dies”

## Slide 53: Show MapReduce Job Running
~41 minutes total
  ~29 minutes for Map tasks & Shuffle tasks
  ~12 minutes for Reduce tasks
  1707 worker servers used
Map (Green) tasks read 0.8 TB, write 0.5 TB
Shuffle (Red) tasks read 0.5 TB, write 0.5 TB
Reduce (Blue) tasks read 0.5 TB, write 0.5 TB

## Slide 65: MapReduce Failure Handling
On worker failure:
  Detect failure via periodic heartbeats
  Re-execute completed and in-progress map tasks
  Re-execute in progress reduce tasks
  Task completion committed through master
Master failure:
  Could handle, but don't yet (master failure unlikely)
Robust: lost 1600 of 1800 machines once, but finished fine

## Slide 66: MapReduce Redundant Execution
Slow workers significantly lengthen completion time
  Other jobs consuming resources on machine
  Bad disks with soft errors transfer data very slowly
  Weird things: processor caches disabled (!!)
Solution: Near end of phase, spawn backup copies of tasks
  Whichever one finishes first "wins"
Effect: Dramatically shortens job completion time
  3% more resources, large tasks 30% faster

## Slide 67: Impact on Execution of Restart, Failure for 10B record Sort using 1800 servers
No Backup Tasks
(44% Longer)
Kill 200 workers
(5% Longer)
Notes: Figure 3 (a) shows the progress of a normal execution of the sort program.
The top-left graph shows the rate at which input is read. The rate peaks at about 13 GB/s and dies off fairly quickly since all map tasks finish before 200 seconds have elapsed.
The middle-left graph shows the rate at which data is sent over the network from the map tasks to the reduce tasks. This shuffling starts as soon as the first map task completes. The first hump in the graph is for the first batch of approximately 1700 reduce tasks (the entire MapReduce was assigned about 1700 machines, and each machine executes at most one reduce task at a time). Roughly 300 seconds into the computation, some of these first batch of reduce tasks finish and we start shuffling data for the remaining reduce tasks. All of the shuffling is done about 600 seconds into the computation.
The bottom-left graph shows the rate at which sorted data is written to the final output files by the reduce tasks. There is a delay between the end of the first shuffling period and the start of the writing period because the machines are busy sorting the intermediate data. The writes continue at a rate of about 2-4 GB/s for a while. All of the writes finish about 850 seconds into the computation.
Including startup overhead, the entire computation takes 891 seconds.
A few things to note: the input rate is higher than the shuffle rate and the output rate because of our locality optimization – most data is read from a local disk and bypasses our relatively bandwidth constrained network.
The shuffle rate is higher than the output rate because the output phase writes two copies of the sorted data (we make two replicas of the output for reliability and avail- ability reasons). We write two replicas because that is the mechanism for reliability and availability provided by our underlying file system.
In Figure 3 (b)[middle], we show an execution of the sort pro- gram with backup tasks disabled. The execution flow is similar to that shown in Figure 3 (a), except that there is a very long tail where hardly any write activity occurs. After 960 seconds, all except 5 of the reduce tasks are completed. However these last few stragglers don’t fin- ish until 300 seconds later. The entire computation takes 1283 seconds, an increase of 44% in elapsed time.
In Figure 3 (c)[right], we show an execution of the sort program where we intentionally killed 200 out of 1746 worker processes several minutes into the computation. The underlying cluster scheduler immediately restarted new worker processes on these machines (since only the pro- cesses were killed, the machines were still functioning properly).The worker deaths show up as a negative input rate since some previously completed map work disappears (since the corresponding map workers were killed) and needs to be redone. The re-execution of this map work happens relatively quickly. The entire computation fin- ishes in 933 seconds including startup overhead (just an increase of 5% over the normal execution time).

## Slide 68: MapReduce Locality Optimization during Scheduling
Master scheduling policy:
  Asks GFS (Google File System) for locations of replicas of input file blocks
  Map tasks typically split into 64MB (== GFS block size)
  Map tasks scheduled so GFS input block replica are on same machine or same rack
Effect: Thousands of machines read input at local disk speed
Without this, rack switches limit read rate

## Slide 69
Towards the end, the master assigns uncompleted tasks again; 1st to finish wins
Reducers can start reducing as soon as they start to receive Map data
Reduce worker sorts by intermediate keys to group all occurrences of same key
MapReduce divides computers into 1 master and N-1 workers; masters assigns MR tasks
☐
☐
☐
☐
Question: Which statements are NOT TRUE about about MapReduce?
Notes: VertLeftWhiteCheck1

## Slide 70
Towards the end, the master assigns uncompleted tasks again; 1st to finish wins
Reducers can start reducing as soon as they start to receive Map data
Reduce worker sorts by intermediate keys to group all occurrences of same key
MapReduce divides computers into 1 master and N-1 workers; masters assigns MR tasks
☐
☐
☐
☐
Question: Which statements are NOT TRUE about about MapReduce?
Notes: VertLeftWhiteCheck1

## Slide 71: Agenda
MapReduce Examples
Administrivia + 61C in the News + The secret to getting good grades at Berkeley
MapReduce Execution
Costs in Warehouse Scale Computer

## Slide 72: Design Goals of a WSC
Unique to Warehouse-scale
  Ample parallelism:
    Batch apps: large number independent data sets with independent processing. Also known as Data-Level Parallelism
  Scale and its Opportunities/Problems
    Relatively small number of these make design cost expensive and difficult to amortize
    But price breaks are possible from purchases of very large numbers of commodity servers
    Must also prepare for high component failures
  Operational Costs Count:
    Cost of equipment purchases << cost of ownership

## Slide 73: WSC Case Study Server Provisioning
Internet
WSC Power Capacity |  | 8.00 | MW
Power Usage Effectiveness (PUE) | 1.45 |  | 
IT Equipment Power Share | 0.67 | 5.36 | MW
Power/Cooling Infrastructure | 0.33 | 2.64 | MW
IT Equipment Measured Peak (W) | 145.00 |  | 
Assume Average Pwr @ 0.8 Peak | 116.00 |  | 
# of Servers |  | 46207 | 
# of Servers |  | 46000 | 
# of Servers per Rack | 40.00 |  | 
# of Racks |  | 1150 | 
Top of Rack Switches |  | 1150 | 
# of TOR Switch per L2 Switch | 16.00 |  | 
# of L2 Switches |  | 72 | 
# of L2 Switches per L3 Switch | 24.00 |  | 
# of L3 Switches |  | 3 | 
Rack …
Server
TOR Switch
L3 Switch
L2 Switch
…

## Slide 74: Cost of WSC
US account practice separates purchase price and operational costs
Capital Expenditure (CAPEX) is cost to buy equipment (e.g.. buy servers)
Operational Expenditure (OPEX) is cost to run equipment (e.g., pay for electricity used)

## Slide 75: WSC Case Study Capital Expenditure (Capex)
Facility cost and total IT cost look about the same
Facility Cost | $88,000,000
Total Server Cost | $66,700,000
Total Network Cost | $12,810,000
Total Cost | $167,510,000
However, replace servers every 3 years, networking gear every 4 years, and facility every 10 years

## Slide 76: Cost of WSC
US account practice allow converting Capital Expenditure (CAPEX) into Operational Expenditure (OPEX) by amortizing costs over time period
  Servers 3 years
  Networking gear 4 years
  Facility 10 years

## Slide 77: WSC Case Study Operational Expense (Opex)
Server | 3 | $66,700,000 | $2,000,000 | 55%
Network | 4 | $12,530,000 | $295,000 | 8%
Facility |  | $88,000,000 |  | 
Pwr&Cooling | 10 | $72,160,000 | $625,000 | 17%
Other | 10 | $15,840,000 | $140,000 | 4%
Amortized Cost |  |  | $3,060,000 | 
Power (8MW) |  | $0.07 | $475,000 | 13%
People (3) |  |  | $85,000 | 2%
Total Monthly |  |  | $3,620,000 | 100%
Monthly Cost
Years
Amortization
$/kWh
Amortized
Capital
Expense
Operational
Expense
  Monthly Power costs
    $475k for electricity
    $625k + $140k to amortize facility power distribution and cooling
    60% is amortized power distribution and cooling

## Slide 78: How much does a watt cost in a WSC?
8 MW facility
Amortized facility, including power distribution and cooling is $625k + $140k = $765k
Monthly Power Usage = $475k
Watt-Year = ($765k+$475k)*12/8M = $1.86 or about $2 per year
To save a watt, if spend more than $2 a year, lose money

## Slide 79
The dominant operational monthly cost is the electric bill.
The dominant operational monthly cost is facility replacement.
The dominant operational monthly cost is server replacement.
☐
☐
☐
☐
Which statement is TRUE about Warehouse Scale Computer economics?
The dominant operational monthly cost is operator salaries.
Notes: VertLeftWhiteCheck1
No

## Slide 80: WSC Case Study Operational Expense (Opex)
$3.6M/46000 servers = ~$80 per month per server in revenue to break even
~$80/720 hours per month = $0.11 per hour
So how does Amazon EC2 make money???
Server | 3 | $66,700,000 | $2,000,000 | 55%
Network | 4 | $12,530,000 | $295,000 | 8%
Facility |  | $88,000,000 |  | 
Pwr&Cooling | 10 | $72,160,000 | $625,000 | 17%
Other | 10 | $15,840,000 | $140,000 | 4%
Amortized Cost |  |  | $3,060,000 | 
Power (8MW) |  | $0.07 | $475,000 | 13%
People (3) |  |  | $85,000 | 2%
Total Monthly |  |  | $3,620,000 | 100%
Monthly Cost
Years
Amortization
$/kWh
Amortized
Capital
Expense
Operational
Expense

## Slide 81: January 2012 AWS Instances & Prices
Closest computer in WSC example is Standard Extra Large
@$0.11/hr, Amazon EC2 can make money!
  even if used only 50% of time
Instance | Per Hour | Ratio to Small | Compute Units | Virtual Cores | Compute Unit/ Core | Memory (GB) | Disk (GB) | Address
Standard Small | $0.085 | 1.0 | 1.0 | 1 | 1.00 | 1.7 | 160 | 32 bit
Standard Large | $0.340 | 4.0 | 4.0 | 2 | 2.00 | 7.5 | 850 | 64 bit
Standard Extra Large | $0.680 | 8.0 | 8.0 | 4 | 2.00 | 15.0 | 1690 | 64 bit
High-Memory Extra Large | $0.500 | 5.9 | 6.5 | 2 | 3.25 | 17.1 | 420 | 64 bit
High-Memory Double Extra Large | $1.200 | 14.1 | 13.0 | 4 | 3.25 | 34.2 | 850 | 64 bit
High-Memory Quadruple Extra Large | $2.400 | 28.2 | 26.0 | 8 | 3.25 | 68.4 | 1690 | 64 bit
High-CPU Medium | $0.170 | 2.0 | 5.0 | 2 | 2.50 | 1.7 | 350 | 32 bit
High-CPU Extra Large | $0.680 | 8.0 | 20.0 | 8 | 2.50 | 7.0 | 1690 | 64 bit
Cluster Quadruple Extra Large | $1.300 | 15.3 | 33.5 | 16 | 2.09 | 23.0 | 1690 | 64 bit

## Slide 82: August 2013 AWS Instances & Prices
Closest computer in WSC example is Standard Extra Large
@$0.11/hr, Amazon EC2 can make money!
  even if used only 50% of time
  See http://aws.amazon.com/ec2/pricing and http://docs.aws.amazon.com/AWSEC2/latest/UserGuide/instance-types.html
Instance | Per Hour | Ratio to Small | Compute Units | Virtual Cores | Compute Unit/ Core | Memory (GB) | Disk (GB) | Address
Standard Small | $0.065 | 1.0 | 1.0 | 1 | 1.00 | 1.7 | 160 | 32 bit
Standard Large | $0.260 | 4.0 | 4.0 | 2 | 2.00 | 7.5 | 840 | 64 bit
Standard Extra Large | $0.520 | 8.0 | 8.0 | 4 | 2.00 | 15.0 | 1680 | 64 bit
High-Memory Extra Large | $0.460 | 7.1 | 6.5 | 2 | 3.25 | 17.1 | 420 | 64 bit
High-Memory Double Extra Large | $0.920 | 14.2 | 13.0 | 4 | 3.25 | 34.2 | 850 | 64 bit
High-Memory Quadruple Extra Large | $1.840 | 28.3 | 26.0 | 8 | 3.25 | 68.4 | 1690 | 64 bit
High-CPU Medium | $0.165 | 2.5 | 5.0 | 2 | 2.50 | 1.7 | 350 | 32 bit
High-CPU Extra Large | $0.660 | 10.2 | 20.0 | 8 | 2.50 | 7.0 | 1690 | 64 bit
XXXXXXXXXXXXXXX | $X | 15.3 | 33.5 | 16 | 2.09 | 23.0 | 1690 | 64 bit

## Slide 83: And in Conclusion, …
Request-Level Parallelism
  High request volume, each largely independent of other
  Use replication for better request throughput, availability
MapReduce Data Parallelism
  Map: Divide large data set into pieces for independent parallel processing
  Reduce: Combine and process intermediate results to obtain final result
WSC CapEx vs. OpEx
  Economies of scale mean WSC can sell computing as a utility
  Servers dominate cost
  Spend more on power distribution and cooling infrastructure than on monthly electricity costs